## Slide 1: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Scalpel with #10 blade – hidden from student)

## Slide 2: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Metzenbaum scissors – hidden from student)

## Slide 3: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Mayo scissors (curved) – hidden from student)

## Slide 4: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Adson forceps with teeth – hidden from student)

## Slide 5: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Debakey forceps – hidden from student)

## Slide 6: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Allis forceps – hidden from student)

## Slide 7: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Babcock forceps – hidden from student)

## Slide 8: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Kocher (Ochsner) forceps – hidden from student)

## Slide 9: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Mosquito forceps – hidden from student)

## Slide 10: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Kelly forceps – hidden from student)

## Slide 11: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Crile forceps – hidden from student)

## Slide 12: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Rochester-Pean forceps – hidden from student)

## Slide 13: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Mayo-Hegar needle holder – hidden from student)

## Slide 14: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Olsen-Hegar needle holder – hidden from student)

## Slide 15: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Senn retractor – hidden from student)

## Slide 16: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Army-Navy retractor – hidden from student)

## Slide 17: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Richardson retractor – hidden from student)

## Slide 18: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Yankauer suction tip – hidden from student)

## Slide 19: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Poole suction tip – hidden from student)

## Slide 20: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Towel clip – hidden from student)

## Slide 21: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Sponge holding forceps – hidden from student)

## Slide 22: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Curved suture needle – hidden from student)

## Slide 23: OSCE STATION – IDENTIFY THE INSTRUMENT
Q1. Identify the instrument shown.
Q2. Mention ONE common use.
Q3. Mention ONE precaution or feature.
(Instrument: Straight suture needle – hidden from student)