BDS Third Professional                                                  General  Surgery

LAHORE MEDICAL & DENTAL COLLEGE LAHORE

Annual Examination 2018

Objectively Structured Performance Evaluation (OSPE )

Static  Station No 7

Marks: 03								Time Allowed: 03 min

For Organizer:

Requirements:

1.Response sheet           2.pen/ball point                3. Table                         4. Chair / stool

Topic Specification: Instruments

.......................................................................................................................................

Static  Station No 7

Mark:03		                                                                    Time Allowed: 03 min

For Candidate:

Tasks:

1.	What is this instrument?

2.	What are its Uses?

3.	How it is sterilized?

.......................................................................................................................................

Key: Static Station No 7

1.   Artery forceps

2.   a. For hemostasis b.	To hold aponeurosis or peritoneal

3.    Autoclave

BDS Third Professional                                                                     General  Surgery

LAHORE MEDICAL & DENTAL COLLEGE LAHORE

Annual Examination 2018

Objectively Structured Performance Evaluation (OSPE )

Static  Station No 7

Marks: 03							Time Allowed: 03 min

For Organizer:

Requirements:

1.Response sheet           2.pen/ball point                3. Table                         4. Chair / stool

Topic Specification: Instruments

.......................................................................................................................................

Static  Station No 7

Mark:03		                                                                    Time Allowed: 03 min

For Candidate:

Tasks:

1.	Identify the item

2.	Write down the principle of its use

3.	Name two objects which can be sterilized with this method

.......................................................................................................................................

Key: Static Station No 7

1.	Autoclave

2.	1210C  at pressure 15psi  for 15min

3.	a.	Surgical instruments

b. Hospital beddings and drapes

BDS Third Professional                                                                    General  Surgery

LAHORE MEDICAL & DENTAL COLLEGE LAHORE

Annual Examination 2018

Objectively Structured Performance Evaluation (OSPE )

Static  Station No 7

Marks: 03							Time Allowed: 03 min

For Organizer:

Requirements:

1.Response sheet           2.pen/ball point                3. Table                         4. Chair / stool

Topic Specification: Instruments

.......................................................................................................................................

Static  Station No 7

Mark:03		                                                                   Time Allowed: 03 min

For Candidate:

Tasks:

1.  Identify the instrument

2.   Write down method to sterilize this instrument

3.   What are the uses of this instrument? Give two example?

.......................................................................................................................................

Key: Static Station No 7

1. Babcock Forceps

2.  Autoclave

3.  Used to grasp softer tissue, for example to hold appendix and bowel

BDS Third Professional                                                                    General  Surgery

LAHORE MEDICAL & DENTAL COLLEGE LAHORE

Annual Examination 2018

Objectively Structured Performance Evaluation (OSPE )

Static  Station No 7

Marks: 03									Time Allowed: 03 min

For Organizer:

Requirements:

1.Response sheet           2.pen/ball point                3. Table                         4. Chair / stool

Topic Specification: Instruments

.......................................................................................................................................

Static  Station No 7

Mark:03		                                                                    Time Allowed: 03 min

For Candidate:

Tasks:

1.	Identify the instrument

2.	Write down method to sterilize  this instrument

3.	What are the uses of this instrument? Give two example?

.......................................................................................................................................

Key: Static Station No 7

1.	Langenbeck Retractor

2.	Autoclave

3.	Holding open wounds and exposing deeper tissues

BDS Third Professional                                                                   General  Surgery

LAHORE MEDICAL & DENTAL COLLEGE LAHORE

Annual Examination 2018

Objectively Structured Performance Evaluation (OSPE )

Static  Station No 7

Marks: 03								Time Allowed: 03 min

For Organizer:

Requirements:

1.Response sheet           2.pen/ball point                3. Table                         4. Chair / stool

Topic Specification: Instruments

.......................................................................................................................................

Static  Station No 7

Mark:03		                                                                       Time Allowed: 03 min

For Candidate:

Tasks:

1. Identify the instrument

2. Write down method to sterilize this instrument

3.  What are the uses of this instrument? Give two example?

.......................................................................................................................................

Key: Static Station No 7

1. Allis Forceps

2. Autoclave. Ethylene oxide,

3.  Holding soft tissue and used to provide gentle traction . For example, 5g

BDS Third Professional                                                        General  Surgery

LAHORE MEDICAL & DENTAL COLLEGE LAHORE

Annual Examination 2018

Objectively Structured Performance Evaluation (OSPE )

Static  Station No 7

Marks: 03							Time Allowed: 03 min

For Organizer:

Requirements:

1.Response sheet           2.pen/ball point                3. Table                         4. Chair / stool

Topic Specification: Instruments

.......................................................................................................................................

Static  Station No 7

Mark:03		                                                                       Time Allowed: 03 min

For Candidate:

Tasks:

- identify this object

- what are its uses

- what are  its contraindications

.......................................................................................................................................

Key: Static Station No 7

- cautery lead

- To coagulate small bleeding points, to cut the tissue

- it is contraindicated in circumcision and patients having pacemakers.